Scope of work of the Vendor

| Sr. No | Scope of work |
| --- | --- |
| 1 | Painting materials in contractor scope |
| 2 | One coat road marking primer and two coat final paint as instructed by GPPL in charge. Paint should be standard make Berger/Asian/AkzoNobel make |
| 3 | All road markings shall be painted with N.C.D.O.T. approved paint as directed by this scope |
| 4 | Prior to starting work the contractor shall contact coordinate scheduling of work, traffic control procedures, etc. |
| 5 | The contractor shall provide traffic control (i.e. cones, flagman, signs, etc.) sufficient to prevent injury to personnel, damage to property, and allow for safe flow of traffic. |
| 6 | On satisfactory completion of whole of the works of the contract, the Engineer of GPPL shall issue a completion certificate to the Contractor. Engineer may list out any defects or minor balance items, which shall be attended to by the Contractor within reasonable period failing which the same could be rectified / completed by GPPL at the risk and cost of the Contractor |
| 7 | The contractor is obliged to supervise work so as to carry out the job to the entire satisfaction of GPPL. Penalty will be imposed where applicable in case of delay in carrying out the work, the Contractor shall pay liquidated damages to GPPL @ 1% (One Percent) of work awarded per week (i.e. Seven days), subject to a maximum of 10% (Ten Percent) of work awarded. |
| 8 | Risk assessment will be conducted prior to initiate job. |
|  | Materials: |
| 1 | Thermoplastic; N.C.D.O.T. compliant (Alkyd/Maleic & Hydrocarbon) Paint; Acrylic Waterborne. |

Standard Rates

| Sr. No. | Work Description |  | Unit | Rate |  |
| --- | --- | --- | --- | --- | --- |
| (A) | Measurement sheet for Painting charges at RMGC Yard |  |  |  |  |
| 1 | RMG path marking |  |  |  |  |
|  | - RMG 01 R |  | M |  |  |
|  | - RMG 02 R |  | M |  |  |
| 2 | Zebra crossing marking |  | M |  |  |
| 3 | Container stack marking |  |  |  |  |
|  | - RMG 01 R marking |  | Pcs |  |  |
|  | - RMG 02 R marking |  | Pcs |  |  |
| 4 | Letter marking (1-2-3)1mtr height |  | Pcs |  |  |
| 5 | Letter marking (ABCD)1mtr height |  | Pcs |  |  |
| 6 | 01R & 02R marking 4 meter height |  | Pcs |  |  |
| (B) | Measurement sheet for Painting charges at GP4 |  |  |  |  |
| 1 | QC rail marking 380 meter |  | M |  |  |
| 2 | QC rail cross line marking strips |  | M |  |  |
| 3 | Truck line straight marking |  | M |  |  |
| 4 | Truck line cross line marking |  | M |  |  |
| (C) | Measurement sheet for Painting charges at RTG Yard |  |  |  |  |
| 1 | 1A,1B-1C-1D yard marking |  | M |  |  |
| 2 | No. marking 3 feet height |  | Pcs |  |  |
| 3 | No. marking 1 feet height |  | Pcs |  |  |
| 4 | Container stack marking |  | Pcs |  |  |
| 5 | 2A,2B-2C-2D-2E-2F-2G yard marking |  | M |  |  |
| 6 | No. marking 3 feet height |  | Pcs |  |  |
| 7 | No. marking 1 feet height |  | Pcs |  |  |
| 8 | Container stack marking |  | Pcs |  |  |
| 9 | 3A,3B-3C-3D-3E-3F-3G yard marking |  | M |  |  |
| 10 | No. marking 3 feet height |  | Pcs |  |  |
| 11 | No. marking 1 feet height |  | Pcs |  |  |
| 12 | Container stack marking |  | Pcs |  |  |
| (D) | Measurement sheet for Painting charges at Pregate |  |  |  |  |
| 1 | Pregate container stack marking 9A,9B,9C & 9D |  | Pcs |  |  |
| 2 | No. Marking 3 feet |  | Pcs |  |  |
| (E) | Measurement sheet for Jersy barrier and road railing painting |  |  |  |  |
| 1 | Cement concrete barrier painting works with yellow and black strip as instructed by GPPL one coat primer and two coal final paint |  | Pcs |  |  |
| 2 | Road railing painting works as instructed by GPPL one coat primer and two coal final paint |  | Pcs |  |  |
| Contact Details |  |  |  |  |  |
| Company Name |  |  |  |  |  |
| Contact Person |  |  |  |  |  |
| Contact number |  |  |  |  |  |
| E-mail ID |  |  |  |  |  |