Scope Of Work - Swimming pool operation and Maintenance

The purpose of this SOW is to define the operational and maintenance responsibilities for the swimming pool located at GPPL (APM Terminals /Pipavav)

The Service Provider shall be responsible for the daily operation, maintenance, and cleaning of the swimming pool, ensuring that it remains safe, clean, and operational throughout the year

- Monthly visit of technical team to perform routine maintenance of the Club House Swimming pool /plant to support the operations.

- Electro-mechanical check of every component on its working and performance. Communication with Operator on various issues

- Vendor shall depute 02 nos. of operator at site who will be stationed and attend to the Swimming pool/plant as per timing / shift that will be explained to them. the vendor shall provide certified and trained staff to supervise swimmers during operational hours.

- VENDOR Shall depute senior technicians / Managers from HQ at Ahmadabad as and when essential.

- Operator will run the Swimming pool/ plant keeping all guidelines, discipline and shall carryout the sample analysis on regular basis to check Chlorine & pH level in water. The reports shall be submitted to client as well as to Vendor headquarters on regular basis.

- Vendor shall provide 1 Nos. Of toolkit (standard kits with all tools / tackles) to the operators to enable them to maintain the equipment, attend to leakages etc. On regular basis.

- All Consumables Like TCCA, Acid, Test Kit, Copper Sulphate is in vendor scope.

- All Cleaning Accessories like Brush, Algae Brush, Hosepipe, Suction Sweeper Etc. is in vendor Scope.

- Equipment Operation:

- Vendor shall ensure Ensure pool filtration systems, pumps, heaters, lights, and other essential equipment are in proper working order.

- Monitor the operation of pool cleaning systems, ensuring that the pool is free of debris and contaminants.

- Pool Maintenance:

- Daily Cleaning Services

- Skim the pool surface to remove debris (leaves, insects, etc.).

- Vacuum the pool floor and walls as needed to maintain cleanliness.

- Check and clean pool filters and skimmers daily.

- Clean and sanitize the pool deck, surrounding area, and any furniture chairs, etc.

- Weekly Maintenance:

- Deep clean the pool, including brushing the walls and tiles to prevent algae buildup.

- Inspect and clean the pool’s filtration and circulation system.

- Check pool lighting and ensure all fixtures are in working condition.

- Emergency & Safety Service:

- Ensure that pool safety signage is clearly visible.

- Provide emergency responses to any pool-related accidents or issues, such as water contamination, equipment failure, or safety hazards.

- Document and report any accidents, injuries, or safety concerns to the Supervisor/In charge promptly.

Annexure -B

Standard Price

Pirce per Month  :-

Payment Terms :

| Contact Details |  |
| --- | --- |
| Company Name |  |
| Contact Person |  |
| Contact number |  |
| E-mail ID |  |